RG-08 Data Manual

Industrial LoRaWAN Wireless Data Acquisition Gateway

Version 1.3

Date 2026-05-28

Disclaimer and Copyright Notice

The information in this document, including URLs referenced for information, is subject to change without notice. This document is provided "as is" without warranty of any kind, whether express or implied, including but not limited to the implied warranties of merchantability, fitness for a particular purpose, or non-infringement, and any warranties arising from a proposal, specification, or sample mentioned elsewhere. This document assumes no responsibility for any direct or indirect damages arising from the use of the information contained herein.

Notice

Due to product version upgrades or other reasons, the content of this manual may change. Shenzhen Ai-Thinker Technology Co., Ltd. reserves the right to modify the content of this manual without any notice or prompt. This manual is intended only as a usage guide. Shenzhen Ai-Thinker Technology Co., Ltd. makes every effort to provide accurate information in this manual, but does not guarantee that the content is completely error-free. All content in this manual does not constitute any form of warranty.

CONTENT

CONTENT	1

1. Product Introduction	5

1.1 Product Features	6

1.2 Ordering Information	7

1.3 Functional Parameters	8

2. Configuration	9

2.1 AP Parameters	9

2.2 Parameter Configuration	9

2.2.1 Frequency Channel Settings	9

2.2.2 Common Frequency Channels and Radio Mapping	10

 Common Frequency	10

 Frequency Range(MHz)	10

 Radio0(Hz)	10

 Radio1(Hz)	10

 CN470_0	10

 470.3-471.7	10

 470600000	10

 471400000	10

 CN470_10	10

 486.3-487.7	10

 486600000	10

 487400000	10

 EU868	10

 868.1,868.3,868.5,867.1,	10

 867.3,867.5,867.7,867.9	10

 867500000	10

 868500000	10

 EU433	10

 433.175,433.375,433.575,433.775	10

 433.975,434.175,434.375,434.575	11

 433475000	10

 434275000	10

 US915_0	11

 902.3-907.7	11

 902700000	11

 907400000	11

 US915_1	11

 903.9-905.3	11

 904300000	11

 905000000	11

 AU915_0	11

 915.2-916.6	11

 915600000	11

 916300000	11

 AS923	11

 922.0-923.4	11

 922300000	11

 923100000	11

2.2.3 Ai-Thinker Official LoRaWAN NS	11

2.3 WEB Configuration	11

2.3.1 General Overview	11

2.3.2 Gateway Information Page	12

2.3.2 Configuration Page	12

2.3.3 Maintenance Page	14

2.4 Command Line Configuration	15

2.4.1 Serial Port Connection	15

2.4.2 Command Description	15

3. Function Introduction	18

3.1 Multi-Network Interface Management	18

3.2 LED Indicator Status	18

4. Acceptance Testing Method	19

5. NS Connection	20

5.1 Connecting with ChirpStack	20

5.1 Connecting with TTN	20

6. Gateway Configuration Channel	22

6.1 Standard MQTT Channel	22

6.1.1 Periodic Packet	22

6.1.2 Modify Gateway Configuration	23

6.1.3 Reboot	24

6.1.4 Upgrade	24

6.2 ThingsBoard MQTT Channel	25

6.2.1 Gateway Information Packet	25

6.2.2 Heartbeat Packet	26

6.2.3 Modify Gateway Configuration	26

6.2.4 Query Gateway Status and Configuration	27

6.2.5 Reboot	29

6.2.6 Factory Reset	29

6.2.7 Upgrade	29

7. Using ChirpStack	30

7.1 ChirpStack Introduction	30

7.2 Gateway Registration	30

7.3 Device Registration	31

7.3.1 Create Device Profiles	31

7.3.2 Create Application	31

7.3.3 Register Device	32

7.4 View Data	33

7.4.1 View Gateway Data	33

7.4.2 View Node Data	33

1. Product Introduction

RG-08LTE/ETH is a smart data acquisition gateway that uses LoRaWAN and 4G wireless transmission to implement data transmission functions. It facilitates remote, wireless, and networked communication, enabling easy interconnection with platforms. It significantly reduces the complex development process of wireless products, allowing your products to enter the market faster at lower cost. It can be widely applied in power systems, industrial monitoring, traffic management, meteorology, water treatment, environmental monitoring, coal mining, petroleum, and other industries.

This product series provides 1 Ethernet interface, 8 LoRaWAN wireless receiving channels, 1 transmitting channel, 4G wireless interconnection platform, and WIFI configuration/networking.

It features wide network coverage (4G), flexible and fast networking (ready to use upon installation), and low operating costs (billing by data traffic or duration). It can be applied in power systems, industrial monitoring, traffic management, meteorology, water treatment, environmental mon

monitoring, coal mining, petroleum, and other industries.

- 1.1 Product Features

◆ High-performance embedded hardware platform

◆ Industrial-grade Cat.1 4G module

◆ Wide voltage input DC 9~28V, industrial-grade stability

◆ Group pulse: power supply ±2kV, communication line ±4kV

◆ Humidity range: 10%~95%, feature-rich

◆ Built-in web page for convenient viewing and configuration of system functions

◆ Supports UDP Packet Forward protocol, easily connects with major LoRaWAN cloud platforms

◆ Supports remote management and configuration of devices, OTA upgrade

◆ LED indicators for viewing data channel status, such as wireless connection, data transmission/reception

◆ WIFI/4G/Ethernet multi-network backup with automatic switching, fully redundant data links

- 1.2 Ordering Information

| Model | Scenario | 4G Network |
| --- | --- | --- |
| RG-08ETH | Indoor | No |
| RG-08LTE | Indoor | Yes |

- 1.3 Functional Parameters

| Category | Parameter | Value |
| --- | --- | --- |
| Hardware Parameters | Operating Voltage | DC 9~28 |
|  | Standby Power Consumption | 0.72W(12V) |
| Physical Characteristics | Enclosure | VO flame-retardant material |
|  | Dimensions | 95*95*18mm (L*W*H, excluding terminals) |
|  | Operating Temperature | -35℃~70℃ |
|  | Storage Temperature | -45℃~90℃ |
|  | Operating Humidity | 10%~90% (non-condensing) |
| Communication Interfaces | Network Access Method | 4G Cat1,Ethernet,WIFI(2.4G) |
|  | LoRa Frequency Band | 470/868/915/923 optional |
| Functions | NS Connection | UDP Packet Forward |
|  | Management Port | MQTT Native/Things Board |
|  | Configuration | WEB, MQTT remote Configuration |
|  | Upgrade | WEB Upgrade, OTA |
|  | Multi-NIC Auto Switch | 4G, Ethernet, WIFI auto switch |
|  | Supported Frequency Bands | CN470/EU868/US915/AU915/AS923 |

2. Configuration

- 2.1 AP Parameters

The device enters AP mode upon power-up. AP mode configuration is as follows:

# WIFI configuration in AP mode

SSID:LoRaGW-xxxxxx

password:loragwwifi

xxxxxx is the last 6 digits of the SN

WEB address:192.168.4.1

- 2.2 Parameter Configuration

- 2.2.1 Frequency Channel Settings

The gateway has 8 channels, controlled by two radio chips: radio0 and radio1. Channel frequency settings are implemented by configuring radio0 and radio1. The mapping of 8 frequency channels to radio0 and radio1 varies by region. See details below.

- CN470

CN470(typically radio0 and radio1 differ by 800KHz, default radio=470600000Hz,radio1=471400000Hz)

freq0 = RADIO0-300KHz,default470.3MHz

freq1 = RADIO0-100KHz,default470.5MHz

freq2 = RADIO0+100KHz,default470.7MHz

freq3 = RADIO0+300KHz,default470.9MHz

freq4 = RADIO1-300KHz,default471.1MHz

freq5 = RADIO1-100KHz,default471.3MHz

freq6 = RADIO1+100KHz,default471.5MHz

freq7 = RADIO1+300KHz,default471.7MHz

- EU868

EU868(defaultradio=867500000Hz,radio1=868500000Hz)

freq0 = RADIO1-400KHz	default868.1MHz

freq1 = RADIO1-200KHz	default868.3MHz

freq2 = RADIO1			default868.5MHz

freq3 = RADIO0-400KHz	default867.1MHz

freq4 = RADIO0-200KHz	default867.3MHz

freq5 = RADIO0			default867.5MHz

freq6 = RADIO0+200KHz	default867.7MHz

freq7 = RADIO0+400KHz	default867.9MHz

- US915

US915(defaultradio=904300000Hz,radio1=905000000Hz) //US915_1

freq0 = RADIO0-400KHz	default903.9MHz

freq1 = RADIO0-200KHz	default904.1MHz

freq2 = RADIO0			default904.3MHz

freq3 = RADIO0+200KHz	default904.5MHz

freq4 = RADIO1-300KHz	default904.7MHz

freq5 = RADIO1-100KHz	default904.9MHz

freq6 = RADIO1+100KHz	default905.1MHz

freq7 = RADIO1+300KHz	default905.3MHz

chan_LoRa_Std = radio0+300Khz,default904.6MHz

- AU915

AU915(defaultradio=915600000Hz,radio1=916300000Hz) //AU915_0

freq0 = RADIO0-400KHz	default915.2MHz

freq1 = RADIO0-200KHz	default915.4MHz

freq2 = RADIO0			default915.6MHz

freq3 = RADIO0+200KHz	default915.8MHz

freq4 = RADIO1-300KHz	default916.0MHz

freq5 = RADIO1-100KHz	default916.2MHz

freq6 = RADIO1+100KHz	default916.4MHz

freq7 = RADIO1+300KHz	default916.6MHz

chan_LoRa_Std = radio0+300Khz,default915.9MHz

- AS923

AS923(defaultradio=922300000Hz,radio1=923100000Hz) //AS923

freq0 = RADIO0-300KHz	default922.0MHz

freq1 = RADIO0-100KHz	default922.3MHz

freq2 = RADIO0+100KHZ	default922.4MHz

freq3 = RADIO0+300KHz	default922.6MHz

freq4 = RADIO1-300KHz	default922.8MHz

freq5 = RADIO1-100KHz	default923.0MHz

freq6 = RADIO1+100KHz	default923.2MHz

freq7 = RADIO1+300KHz	default923.4MHz

chan_LoRa_Std = radio0+300Khz,default922.6MHz

- 2.2.2 Common Frequency Channels and Radio Mapping

| Common Frequency | Frequency Range(MHz) | Radio0(Hz) | Radio1(Hz) |
| --- | --- | --- | --- |
| CN470_0 | 470.3-471.7 | 470600000 | 471400000 |
| CN470_10 | 486.3-487.7 | 486600000 | 487400000 |
| EU868 | 868.1,868.3,868.5,867.1, 867.3,867.5,867.7,867.9 | 867500000 | 868500000 |
| EU433 | 433.175,433.375,433.575,433.775 433.975,434.175,434.375,434.575 | 433475000 | 434275000 |
| US915_0 | 902.3-907.7 | 902700000 | 907400000 |
| US915_1 | 903.9-905.3 | 904300000 | 905000000 |
| AU915_0 | 915.2-916.6 | 915600000 | 916300000 |
| AS923 | 922.0-923.4 | 922300000 | 923100000 |

- 2.2.3 Ai-Thinker Official LoRaWAN NS

Test NS, domain:lora.iot-aithings.com,IP:47.113.96.150

WEB address:http://lora.iot-aithings.comhttp://lora.iot-aithings.com

Packet forward address:

● EU868: lora.iot-aithings.com:1700
● AS923: lora.iot-aithings.com:1701
● US915_0: lora.iot-aithings.com:1702
● AU915_0: lora.iot-aithings.com:1703
● KR920: lora.iot-aithings.com:1704
● RU864: lora.iot-aithings.com:1705
● IN865: lora.iot-aithings.com:1706
● CN470_0: lora.iot-aithings.com:1707

To use Ai-Thinker's official LoRaWAN NS, please contact official customer service to activate an enterprise account.

- 2.3 WEB Configuration

- 2.3.1 General Overview

● Menu bar: refresh and restart the gateway;

● GW Info: gateway information page;

● Configuration: gateway configuration page for viewing and modifying gateway settings. Any configuration changes require a restart to take effect;

● Maintenance: maintenance page for device upgrade and factory reset;

- 2.3.2 Gateway Information Page

● The gateway SN is generated from the MAC address. The MAC address is IEEE unique, thus typically globally unique;

● The default Gateway ID (GWEUI) is the same as the SN. The Gateway ID can also be modified on the configuration page;

● WIFI Info displays the WIFI STA connection status. It is not displayed by default and will be shown after enabling WIFI STA;

● IMEI is the unique ID of the cellular module, ICCID is the SIM card number (not a phone number)

- 2.3.2 Configuration Page

● WIFI STA: supports connecting to the network via WIFI access point;

● Management MQTT: used to configure MQTT parameters for the management channel;

◆ When enabled, gateway heartbeat packets are received periodically (60s) to keep the gateway online and synchronize gateway configuration

◆ Supports standard MQTT and ThingsBoard

◆ Configurable Username, Password, ClientID

◆ The management channel does not currently support MQTTS

● Frequency channel configuration: requires setting Region, Radio0, and Radio1;

● NS direction: configured by modifying NS Host and NS Port, defaulting to the test NS;

◆ Currently only supports UDP Packet Forward

◆ Major NS platforms such as ChirpStack, TTN, and Tencent Cloud all support UDP Packet Forward

● Restart Schedule: supports configuring a restart plan, either at fixed intervals or at a specified time

Note:

- All modifications on the above pages require clicking Apply first, then restarting to take effect

- 2.3.3 Maintenance Page

● Read Log: The device saves simple logs, including restart events, network status changes, and NS connection status changes. You can read the logs stored on the device;

● Upgrade: drag or select a file to perform an upgrade;

● Restore to factory settings: restores factory configuration.

- 2.4 Command Line Configuration

This device supports command-line configuration. In case of abnormal situations, you can view logs via the serial port to troubleshoot issues.

- 2.4.1 Serial Port Connection

As shown in the figure below, connect the TTL interface. The board silkscreen and pin header order correspond one-to-one. Note that TX and RX are cross-connected, i.e., TX->RX, RX->TX. If the pin headers are not soldered on the board, you need to solder them manually. After serial port connection, the device will automatically output logs.

- 2.4.2 Command Description

The device supports command-line configuration. Please use PuTTY or Xshell. Serial port configuration: 115200, 8, N, 1.

Note:

1. Any parameter modification requires a restart to take effect, meaning you need to enter the reboot command

● help: view all commands

255MG-801> help
pkt_fwd  [-h] [--restore] [--host=<UDP Host>] [--port=<UDP Port>] [--gwid=<gateway id>]
  ESP32 packet forwarder based on sx1302_hal
     --restore  clean NVS config
    -h, --help  print help
  --host=<UDP Host>  UDP Host
  --port=<UDP Port>  UDP Port
  --gwid=<gateway id>  Gateway Id
​
ifconfig
  printf network status
​
reboot
  reboot the system
​
wifi
  set wifi parameters
​
help  [<string>]
  Print the summary of all registered commands if no arguments are given,
  otherwise print summary of given command.
      <string>  Name of command

As shown above, you can configure via the pkt_fwd command

● pkt_fwd: used to configure pkt_fwd-related information, including NS address and port

● ifconfig: used to view all network interface information

255MG-801> 
255MG-801> ifconfig
​
=========ifconfig===========
--------if:ppp prio:20--------
link:   NET_UP
ip:     10.145.122.176
mask:   255.255.255.255
gw:     10.64.64.64
dns1:   218.85.157.99
dns2:   218.85.157.99
IMEI:   860761079936981
IMSI:   460115210945489
ICCID:  89860322245923849833
CSQ/BER:  23/0
--------if:eth prio:50--------
link:   LINK_DOWN/NET_DOWN
MAC:    66:e8:33:49:ba:47
ip:     0.0.0.0
mask:   0.0.0.0
gw:     0.0.0.0
dns1:   218.85.157.99
dns2:   218.85.157.99
--------if:ap prio:10--------
MAC:    64:e8:33:49:ba:45
ip:     192.168.4.1
ssid:   esp32
pswd:   esp32wifi
=========ifconfig end===========

255MG-801>

● wifi: used to view and set WIFI SSID and password

◆ Read WIFI configuration

255MG-801> wifi
wifi_ssid:jiji
wifi_pswd:redmi

◆ Configure WIFI connection, format: wifi {ssid} {password}

255MG-801> wifi 255mesh 255mesh123456
set wifi_ssid: Done
set wifi_pswd: Done
set ns_host: Done
set ns_port: Done
set gw_id: Done
set wifi_mode: Done
set freq_region: Done
set freq_radio0: Done
set freq_radio1: Done
set mgt_enable: Done
set mgt_url: Done
set mgt_type: Done
set mgt_clientid: Done
set mgt_username: Done
set mgt_tsbd_tele: Done
set mgt_tsbd_req: Done
set mgt_tsbd_resp: Done
set mgt_uptopic: Done
set mgt_dntopic: Done
set cfg_inited: Done
set eth_cfg: Done
set restart_plan: Done
set dns_cfg: Done
Save config to NVS... Done
​
255MG-801> wifi
wifi_ssid:255mesh      
wifi_pswd:255mesh123456
255MG-801>

● reboot: used to restart the device. Any parameter modification requires a restart to take effect

3. Function Introduction

- 3.1 Multi-Network Interface Management

The device supports up to 3 network access methods:

● WIFI STA

● Ethernet

● 4G

The selection of these three network access methods follows the network interface readiness status and priority.

● Readiness status: when this method can obtain an IP address, the network interface is considered ready;

● Priority: WIFI STA > Ethernet > 4G;

● Network interface selection logic: the device always selects the highest-priority ready network interface for communication.

- 3.2 LED Indicator Status

LED indicator details are as follows:

● RF-LED: The LoRaWAN module is in receive mode. Lit when receiving, off when transmitting.

● SYS-LED:

◆ System started, LoRaWAN thread not started: on 0.5s, off 0.5s.

◆ System started, LoRaWAN thread started: steady on.

● WIFI-LED:

◆ WIFI STA not enabled: steady off

◆ WIFI STA searching for network: on 0.5s, off 0.5s.

◆ WIFI STA connected: steady on.

● 4G-LED: on 0.2s, off 1.8s; network searching state.

◆ On 1.8s, off 0.2s; standby state.

◆ On 0.125s, off 0.125s; data transmission state.

● LINK-LED: Ethernet port running normally, this LED flashes.

● SPD-LED: Ethernet port running normally, this LED steady on.

4. Acceptance Testing Method

1. Power on the device;

2. Connect to the device's WIFI hotspot (SSID: LoRaGW-xxxxxx, password: loragwwifi). Enter http://192.168.4.1 in the browser to view the device configuration page;http://192.168.4.1

3. Test Ethernet: connect the device to a router. If the device can obtain an IP via DHCP, Ethernet is functioning properly;

4. After the device is networked, the SX1302 module starts. Enter the device's GWID (default GWID is the SN) into the NS server. If the gateway appears online on the NS server, the SX1302 is functioning properly;

5. Insert a 4G SIM card and unplug the Ethernet cable. If 4G obtains an IP address properly, 4G is functioning properly;

6. All hardware functions have been verified. Testing passed.

5. NS Connection

The gateway uses the UDP Packet-forward protocol to connect with NS. This protocol was designed by Semtech and is widely used between LoRaWAN gateways and NS.

- 5.1 Connecting with ChirpStack

Enter the information as shown in the figure below

  - Connecting with TTN

Gateway information entry

Gateway is online, uplink data can be seen

6. Gateway Configuration Channel

- 6.1 Standard MQTT Channel

The configuration channel uses MQTT for data interaction. The channel from the device to the server is called the uplink channel, and the channel from the server to the device is called the downlink channel.

Where:

● Uplink Topic:up/gw/{SN}/0

● Downlink Topic:dn/gw/{SN}/0

For example, if the gateway SN is 64e833fffe5909d8, the uplink and downlink channels are:

● Uplink Topic:up/gw/64e833fffe5909d8/0

● Downlink Topic:dn/gw/64e833fffe5909d8/0

The gateway periodically sends heartbeat packets through the uplink channel

The server can also send data to the gateway through the downlink channel

- 6.1.1 Periodic Packet

{

"pkt": "periodUplink",

"GWInfo": {

"SN": "64e833fffe5909d8",

"SoftwareVersion": "V1.0.1",

"HardwareVersion": "V1.0.0"

},

"Staus": {

"GPSValid": true,

"Latitude": 24.000000,

"Longitude": 120.000000,

"Altitude": 0.000000,

"Cellular": {},

"Ethernet": {},

"WIFI": {

"Link": "NET_UP",

"IPMode": "DHCP",

"MAC": "64:e8:33:59:09:d8",

"IP": "192.169.4.12",

"Mask": "255.255.255.0",

"GW": "192.169.4.1",

"DNS1": "192.169.4.1",

"DNS2": "192.169.4.1"

}

},

"Configuration": {

"STA": {

"Enable": false,

"SSID": "",

"Password": ""

},

"Management": {

"MQTT": {

"Enable": true,

"URL": "mqtt://broker.emqx.io",

"ClientID": "64e833fffe5909d8",

"UplinkTopic": "up/gw/64e833fffe5909d8/0",

"DownlinkTopic": "dn/gw/64e833fffe5909d8/0"

}

},

"LoRaWAN": {

"Region": "cn470",

"Radio0": "470600000",

"Radio1": "enable",

"NsHost": "lora.ansitw.com",

"NsPort": "1700",

"GatewayID": "64e833fffe5909d8"

}

}

}

- 6.1.2 Modify Gateway Configuration

Directly modify the content in Configuration and send it down

{

"pkt": "downlink",

"Configuration": {

"STA": {

"Enable": false,

"SSID": "",

"Password": ""

},

"Management": {

"MQTT": {

"Enable": true,

"URL": "mqtt://broker.emqx.io",

"ClientID": "64e833fffe5909d8",

"UplinkTopic": "up/gw/64e833fffe5909d8/0",

"DownlinkTopic": "dn/gw/64e833fffe5909d8/0"

}

},

"LoRaWAN": {

"Region": "cn470",

"Radio0": "470600000",

"Radio1": "enable",

"NsHost": "lora.ansitw.com",

"NsPort": "1700",

"GatewayID": "64e833fffe5909d8"

}

}

}

Response:

{

"pkt": "downlinkRespone",

“result”:"success"

}

- 6.1.3 Reboot

{

"pkt": "downlink",

"cmd": {

"reboot": true

}

}

Response

{

"pkt": "downlinkRespone",

“result”:"success"

}

- 6.1.4 Upgrade

{

"pkt": "downlink",

"cmd": {

"upgrade": "http://192.169.4.53/esp32_sx1302.bin"

}

}

Response (upgrade command received)

{

"pkt": "downlinkRespone",

“result”:"success"

}

- 6.2 ThingsBoard MQTT Channel

The configuration channel uses MQTT for data interaction. Data sent from the gateway to the cloud platform is called uplink, and commands sent from the cloud platform to the gateway are called downlink.

There are two links:

1. Gateway actively sends data

◆ telemetry_uplink

● The device sends heartbeat packets periodically

● The device sends configuration information upon power-up and when configuration changes

2. Cloud platform sends commands to the gateway

◆ request_downlink: cloud platform sends commands to the gateway

◆ respone_uplink: gateway responds with data to the cloud platform

Where:

● telemetry_uplink_topic:v1/devices/me/telemetry

● request_downlink_topic:v1/devices/me/rpc/request/${request_id

● respone_uplink_topic: v1/devices/me/rpc/response/${request_id}

For example, if the current message's request_id of the gateway is 10001, the uplink and downlink channels are:

● telemetry_uplink_topic:v1/devices/me/telemetry

● request_downlink:v1/devices/me/rpc/request/10001

● respone_uplink: v1/devices/me/rpc/response/10001

- 6.2.1 Gateway Information Packet

1. Sent when the device powers up or configuration is modified

2. The device sends once every 1 hour

{

"ts":1451649600512,

"values":

{

"pkt":"gw_info",

"SN":"64e833fffe5909d8",	//Device serial number

"swver":"V1.0.1",			//Software version

"hwver":"V1.0.0",			//Hardware version

"longitude": "24.56789",	//Longitude

"latitude": "118.56789",	//Latitude

"altitude": "78.965",		//Altitude

"stat_cell_link":"",		//stat is abbreviation of status, stat-prefix fields are read-only, cell is abbreviation of cellular, this is the cellular link status, NET_UP means connected, NET_DOWN means not connected

"stat_cell_ip": "",			//IP obtained by cellular

"stat_cell_IMEI": "",		//IMEI of cellular module

"stat_cell_IMSI": "",		//IMSI of SIM card

"stat_cell_ICCID": "",		//ICCID of SIM card

"stat_cell_CSQ": "",		//Cellular signal strength

"stat_eth_link": "",		//ETH is abbreviation of Ethernet, this is the Ethernet link status, format is LINK_UP/NET_UP, where LINK_UP means cable inserted, LINK_DOWN means cable not inserted, NET_UP means connected, NET_DOWN means not connected

"stat_eth_mac": "",			//MAC address of Ethernet

"stat_eth_ip": "",			//IP address of Ethernet

"stat_eth_mask": "",		//Subnet mask of Ethernet

"stat_eth_gw": "",			//Gateway of Ethernet

"stat_eth_dns1": "",		//DNS1 of Ethernet

"stat_eth_dns2": "",		//DNS2 of Ethernet

"stat_sta_link": "",		//STA is abbreviation of WiFi Station, meaning the device connects to a WiFi AP in station mode, this is the WiFi link status, NET_UP means connected, NET_DOWN means not connected

"stat_sta_mac": "",			//MAC address of WiFi

"stat_sta_ip": "",			//IP address of WiFi

"stat_sta_mask": "",		//Subnet mask of WiFi

"stat_sta_gw": "",			//Gateway of WiFi

"stat_sta_dns1": "",		//DNS1 of WiFi

"stat_sta_dns2": "",		//DNS2 of WiFi

"conf_sta_enable":"",		//conf is abbreviation of configuration, sta is abbreviation of station, sta_enable indicates whether WiFi station is enabled, true means enabled, false means disabled

"conf_sta_ssid":"",			//Configured WiFi SSID to connect to

"conf_sta_password":"",		//Configured WiFi password to connect to

"conf_lorawan_region": "",	//Configured LoRaWAN region

"conf_lorawan_radio0":"",	//Configured LoRaWAN radio0

"conf_lorawan_radio1":"",	//Configured LoRaWAN radio1

"conf_lorawan_nshost":"",	//Configured LoRaWAN NS host

"conf_lorawan_nsport":"",	//Configured LoRaWAN NS port

"conf_lorawan_gatewayid":""	//Configured LoRaWAN gateway ID

}

}

- 6.2.2 Heartbeat Packet

{

"ts":1451649600512,

"values":{

"pkt":"heartbeat",

"SN":"64e833fffe5909d8"

}

}

- 6.2.3 Modify Gateway Configuration

Directly modify the content in Configuration and send it down

{

"method": "modify_configuration",  //gateway_reboot is the command keyword

"params":  {

"sta_enable": true,

"sta_ssid": "",

"sta_password": "",

"mang_mqtt_url": "mqtt://thingsboard.com:6883",

"mang_mqtt_clientid": "64e833fffe5909d8",

"mang_mqtt_username": "",

"mang_mqtt_password": "",

"mang_mqtt_telemetry_topic": "v1/devices/me/telemetry",

"mang_mqtt_request_topic": "v1/devices/me/rpc/request",      // This path is only partial; a request_id needs to be appended when actually sending

"mang_mqtt_respone_topic": "v1/devices/me/rpc/response",     // This path is only partial; a request_id needs to be appended when actually sending

"lorawan_region": "cn470",

"lorawan_radio0": "470600000",

"lorawan_radio1": "471400000",

"lorawan_nshost": "lora.ansitw.com",

"lorawan_nsport": "1700",

"lorawan_gatewayid": "471400000"

}

}

Response:

{

"result": "success",

"resp": {                   // Results are placed in this structure

"method": "modify_configuration"

}

}

- 6.2.4 Query Gateway Status and Configuration

{

"method": "query_gw_info",  //gateway_reboot is the command keyword

"params":  {	}

}

Response:

{

"result": "success",

"resp":  {

"method": "query_gw_info",

"pkt":"gw_info",

"SN":"64e833fffe5909d8",	//Device serial number

"swver":"V1.0.1",			//Software version

"hwver":"V1.0.0",			//Hardware version

"longitude": "24.56789",	//Longitude

"latitude": "118.56789",	//Latitude

"altitude": "78.965",		//Altitude

"stat_cell_link":"",		//stat is abbreviation of status, stat-prefix fields are read-only, cell is abbreviation of cellular, this is the cellular link status, NET_UP means connected, NET_DOWN means not connected

"stat_cell_ip": "",			//IP obtained by cellular

"stat_cell_IMEI": "",		//IMEI of cellular module

"stat_cell_IMSI": "",		//IMSI of SIM card

"stat_cell_ICCID": "",		//ICCID of SIM card

"stat_cell_CSQ": "",		//Cellular signal strength

"stat_eth_link": "",		//ETH is abbreviation of Ethernet, this is the Ethernet link status, format is LINK_UP/NET_UP, where LINK_UP means cable inserted, LINK_DOWN means cable not inserted, NET_UP means connected, NET_DOWN means not connected

"stat_eth_mac": "",			//MAC address of Ethernet

"stat_eth_ip": "",			//IP address of Ethernet

"stat_eth_mask": "",		//Subnet mask of Ethernet

"stat_eth_gw": "",			//Gateway of Ethernet

"stat_eth_dns1": "",		//DNS1 of Ethernet

"stat_eth_dns2": "",		//DNS2 of Ethernet

"stat_sta_link": "",		//STA is abbreviation of WiFi Station, meaning the device connects to a WiFi AP in station mode, this is the WiFi link status, NET_UP means connected, NET_DOWN means not connected

"stat_sta_mac": "",			//MAC address of WiFi

"stat_sta_ip": "",			//IP address of WiFi

"stat_sta_mask": "",		//Subnet mask of WiFi

"stat_sta_gw": "",			//Gateway of WiFi

"stat_sta_dns1": "",		//DNS1 of WiFi

"stat_sta_dns2": "",		//DNS2 of WiFi

"conf_sta_enable":"",		//conf is abbreviation of configuration, sta is abbreviation of station, sta_enable indicates whether WiFi station is enabled, true means enabled, false means disabled

"conf_sta_ssid":"",			//Configured WiFi SSID to connect to

"conf_sta_password":"",		//Configured WiFi password to connect to

"conf_lorawan_region": "",	//Configured LoRaWAN region

"conf_lorawan_radio0":"",	//Configured LoRaWAN radio0

"conf_lorawan_radio1":"",	//Configured LoRaWAN radio1

"conf_lorawan_nshost":"",	//Configured LoRaWAN NS host

"conf_lorawan_nsport":"",	//Configured LoRaWAN NS port

"conf_lorawan_gatewayid":"",	//Configured LoRaWAN gateway ID

"mang_mqtt_url": "mqtt://thingsboard.com:6883",	//mang is abbreviation of management, this is the MQTT URL of the management channel, format: mqtt://host:port

"mang_mqtt_clientid": "64e833fffe5909d8",//This is the MQTT ClientID

"mang_mqtt_username": "",				//This is the MQTT username

"mang_mqtt_password": "",				//This is the MQTT password

"mang_mqtt_telemetry_topic": "v1/devices/me/telemetry",	//This is the ThingsBoard telemetry topic

"mang_mqtt_request_topic": "v1/devices/me/rpc/request",      //This is the ThingsBoard RPC request topic

"mang_mqtt_respone_topic": "v1/devices/me/rpc/response",     //This is the ThingsBoard RPC response topic, request_id will be appended

}

}

- 6.2.5 Reboot

{

"method": "gw_reboot",  //gateway_reboot is the command keyword

"params":  { }

}

Response

{

"result": "success",

"resp": {                   // Results are placed in this structure

"method": "gw_reboot"

}

}

- 6.2.6 Factory Reset

{

"method": "gw_restore",  //gw_restore is the command keyword

"params":  {}

}

Response

{

"result": "success",

"resp": {                   // Results are placed in this structure

"method": "gw_restore"

}

}

- 6.2.7 Upgrade

{

"method": "gw_upgrade",  //gateway_reboot is the command keyword

"params":  {

"url":"http://192.169.4.53/simple_ota.bin"	//The device only supports HTTP URLs

}

}

Response (upgrade command received)

{

"result": "success",

"resp": {                   // Results are placed in this structure

"method": "gw_upgrade"

}

}

7. Using ChirpStack

- 7.1 ChirpStack Introduction

ChirpStack is an open-source LoRaWAN NS, widely used for privatized deployment of LoRaWAN NS. It implements various LoRaWAN mechanisms comprehensively.

- 7.2 Gateway Registration

- Name can be any string, or the same as the Gateway ID;

- Copy the gateway's Gateway ID and fill it in;

- After filling, scroll down and click Submit.

Note:

- Clicking Add gateway may show the following error, which can be ignored. This error occurs because foreign maps cannot be used domestically.

- 7.3 Device Registration

Adding a device consists of three main steps

- Create Device Profiles for the device; skip if already exists

- Create an Application; skip if already exists

- Add the device to the application, enter device information, and select appropriate Device Profiles

- 7.3.1 Create Device Profiles

Based on the device, select the appropriate frequency band, join method, and Class

- 7.3.2 Create Application

Nothing special. In ChirpStack, devices are organized by Application as units.

- 7.3.3 Register Device

Note:

- Device registration requires entering keys. OTAA and ABP require different keys;

- OTAA's APPEUI (JoinEUI) is plaintext, so it can be left blank.

- 7.4 View Data

- 7.4.1 View Gateway Data

The data viewed here is raw data received and sent by the gateway, so it is encrypted

- 7.4.2 View Node Data

Device uplink/downlink data can be viewed in both Events and LoRaWAN frames. The data in LoRaWAN frames is more raw, showing each data transmission/reception event, including ADR and other MAC Commands.

Note:

1. Because ChirpStack will issue ADR after node joining to adjust the node's ChannelMask based on the connected gateway's frequency channels. If the gateway's frequency channels do not match the actual port frequencies, the node may be modified to non-communicable frequencies, resulting in communication errors.